# PRE-SUBMISSION CHECKLIST - OUTDOOR UNITS ONLY

| Site |  |
| --- | --- |
| Address: |  |
| Suburb / Town |  | Post Code |  |
| Installer |  |
| Site Contact |  | Phone |  |
| Your Reference |  |

NOTE: The installation must comply with AS 5601, AS 3814, any relevant State Regulations and the Raypak installation instructions

| Model |  | Serial Nº |  |  |
| --- | --- | --- | --- | --- |

| Type of Base: | Concrete |  | Plate |  | Other |  | Open mesh not suitable |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clearances: | RHS |  |  | LHS |  |  | Rear |  |  | Front |  |  | Top |  |
| PRV Piping | Ground |  |  | Floor |  |  | Tundish |  |  |  |  |
| Wall Construction | Brick |  |  | Concrete |  |  | Other |  |  |
| Overload protection fitted to circulator |  | Note: Grundfos single phase and 3 phase UPS and 3 phase TP circulators require external current overload protection. |
| Isolation Valve Location |  |  |
| Gas Valve Make |  | Size |  | mm |  |  |
| Gas Supply to area |  | kPa |  | To unit |  | kPa |  |
| OPSO fitted |  |  | Full internal relief provided |  |  | Filter fitted |  |  |
| Gas Disconnection Type | Flare |  |  | Flange |  |  | Barrel Union |  |
| Boiler Water Isolation Valves Fitted |  |  |
| Water Disconnection | Flare |  |  | Flange |  |  | Barrel Union |  |
| Backflow Prevention |  |  | Cold Feed |  |  | Tank/Pressure Pump |  | kPa |
| Gas Isolation Valve | Brand |  | Type |  | Rated pressure |  | kPa |
|  | AGA Approval No. |  |  |  |  |

# Submissions cannot be made to the State Gas Authority until this form is returned to Rheem Service

| Company |  |  |
| --- | --- | --- |
| Name |  |  |
| Title |  |  |

| Installation expected to be commenced on: |  |  |
| --- | --- | --- |
| Installation expected to be completed by: |  |  |